Amend the bill by striking out everything after the enacting clause and before the summary and inserting in its place the following:

'Sec. 1.  22 MRSA 1579-A, as amended by PL 1989, c. 451, §§1 and 2, is repealed.

Sec. 2.  22 MRSA §1580-E is enacted to read:

§1580-E.  Smoking in food or beverage service establishments

1.  Definitions.  As used in this section, unless the context otherwise indicates, the following terms have the following meanings.

A.  "Food or beverage service establishment" includes a restaurant and any establishment licensed under Title 28-A for the on-premise service of alcoholic beverages.  "Food or beverage service establishment" does not include:

(1)  Any food or beverage service establishment while it is being used solely for private parties or gatherings;

(2)  Any enclosed room of a food or beverage service establishment or a hotel banquet room while it is being used solely for private parties or gatherings;

(3)  Any private food or beverage service establishment or club in which only members or their guests are permitted; or

(4)  Any outdoor seating area that is part of a food or beverage service establishment.

B.  "Mechanically ventilated" means the use of mechanical devices within a building, other than ceiling fans or small portable fans, that provide all or a substantial portion of the climate conditioning, cooling or ventilation of the building.

C.  "Naturally ventilated" means the movement of outdoor air within a building or a portion of a building, which provides all or a substantial portion of its ventilation through:

(1)  Intentionally provided openings, such as windows and doors;

(2)  Nonpowered ventilators; or

(3)  Ceiling fans.

D.  "Negative pressure" means a condition that exists when the air pressure in a space is lower than the air pressure in the surrounding space, causing air to flow naturally from the area of higher pressure to the area of lower pressure. Negative pressure may be created by removing more air than is supplied into a mechanically ventilated space.

E.  "No-smoking area" means the area of a food or beverage service establishment where smoking is not permitted.

F.  "Outdoor air" means air taken from outside of a building for use in a ventilation system.

G.  "Recirculated air" means air that has been removed from an indoor space and subsequently returned to an indoor space.

H.  "Restaurant" means an enclosed indoor restaurant or other enclosed indoor establishment that invites the public to be served food for consumption on the premises.

I.  "Smoking" means carrying or having in one's possession a lighted cigarette, cigar, pipe or other object giving off or containing any substance giving off tobacco smoke.

J.  "Smoking area" means the area of a food or beverage service establishment where smoking is permitted.

K.  "Supply air" means air delivered to an indoor space and used for ventilation, heating, cooling, humidification or dehumidification.

L.  "Ventilation air" means outdoor air plus any recirculated air that has been filtered to remove at least 95% of the particulate materials, 0.3 micrometers aerodynamic diameter, and cleaned by a 3-phase air cleaner or the equivalent to remove gaseous and vapor phase constituents.

2.  Mechanically ventilated food or beverage service establishment.  Smoking is permitted in a mechanically ventilated food or beverage service establishment, referred to in this subsection as the "establishment," only under the following conditions:

A.  The owner, operator, proprietor or manager of the establishment establishes designated no-smoking and smoking areas;

B.  The establishment provides for its patrons a no-smoking area, reasonably calculated to address the needs of the nonsmoking public;

C.  The establishment displays prominently, at or near the entrance, a sign indicating its policy on seating smokers and nonsmokers and encourages customers to make their seating requests known.  A sign need not be displayed if a host or hostess seats customers and indicates orally at the time of seating the establishment's policy and the location of the smoking and no-smoking areas in the establishment;

D.  No-smoking and smoking areas are separated by a physical barrier of no less than 4 feet in height or are spatially separated by a distance of no less than 4 feet and any smoking areas must operate at negative pressure with respect to adjoining no-smoking areas;

E.  In establishments existing prior to the effective date of this section, recirculated air, if any, from designated smoking areas is filtered to remove at least 65% of the particulate material and diluted by outdoor air prior to being supplied back to the space;

F.  In establishments that are established or substantially renovated after the effective date of this section, air from smoking areas is not recirculated to no-smoking areas;

G.  Air treatment devices used to treat recirculated air are maintained, serviced and replaced according to manufacturer specifications;

H.  Smoking areas are supplied with ventilation air of no less than 20 cfm per person, unless otherwise specified by applicable state laws and building codes; and

I.  Mechanical ventilation systems have a source of outdoor air.

3.  Naturally ventilated food or beverage service establishment.  Smoking is permitted in a naturally ventilated food or beverage service establishment, referred to in this subsection as an "establishment," only under the following conditions:

A.  The owner, operator, proprietor or manager of the establishment establishes designated no-smoking and smoking areas;

B.  The no-smoking areas consist of a percentage of total seating capacity established by the owner, operator, proprietor or manager responding to market conditions;

C.  The establishment displays prominently, at or near the entrance, a sign indicating its policy on seating smokers and nonsmokers and encourages customers to make their seating requests known.  A sign need not be displayed if a host or hostess seats customers and indicates orally at the time of seating the establishment's policy and the location of the smoking and no-smoking areas in the restaurant;

D.  No-smoking and smoking areas are separated by a physical barrier at least 4 feet in height or are spatially separated by a distance of no less than 4 feet; and

E.  Designated smoking areas placed in such a manner as to minimize drift of tobacco smoke from smoking areas into no-smoking areas or adjacent enclosed areas through the use of:

(1)  Natural air flows and prevailing winds;

(2)  Auxiliary mechanical devices, including, but not limited to, fans or ceiling fans; or

(3)  The use of mechanisms to keep a smoking area at a negative pressure relative to the surrounding space.

4.  Application.  This section applies to all food or beverage service establishments that are established or are substantially renovated after the effective date of this section.  Food or beverage service establishments that exist

prior to the effective date of this section must comply with this section no less than 24 months from the effective date of this section.'

SUMMARY

This amendment strikes the bill entirely.  The amendment repeals the existing law governing smoking in restaurants and enacts provisions allowing smoking in food or beverage service establishments only if the establishments adhere to ventilation standards set forth in the amendment.