Emergency preamble.  Whereas, Acts of the Legislature do not become effective until 90 days after adjournment unless enacted as emergencies; and

Whereas, testing for mercury is not specifically included in current law requiring testing of incineration facilities for the emission of dioxin and heavy metals; and

Whereas, this bill establishes mercury discharge limits for incineration facilities burning municipal waste, limits that are necessary for the health of Maine citizens;

Whereas, in the judgment of the Legislature, these facts create an emergency within the meaning of the Constitution of Maine and require the following legislation as immediately necessary for the preservation of the public peace, health and safety; now, therefore,

Be it enacted by the People of the State of Maine as follows:

Sec. 1.  38 MRSA §590-B, sub-§§1 and 2, as amended by PL 1989, c. 890, Pt. B, §165 and affected by Pt. A, §40, are further amended to read:

1.  Testing; first 2 years of commercial operation.  Testing is required at each resource recovery facility burning municipal solid waste at least once in every 6-month period during the first 2 years of commercial operation for the presence of dioxin and heavy metals, including, but not limited to, lead, mercury, cadmium and chromium in the emissions of the facility.  The cost of these tests must be paid by the applicant or permittee.

2.  Testing after first 2 years of licensure.  After the facility has been in operation and licensed for 2 years, testing is required for dioxin and heavy metals, including, but not limited to, lead, mercury, cadmium and chromium in the emissions of the facility at a frequency determined by the board by rule, but in no event may such testing occur less frequently than annually.  The cost of these tests must be paid by the applicant or permittee.

A.  The rules adopted by the board under this section establish a system of monitoring the overall air emission performance of resource recovery facilities employing surrogate measures of combustion efficiency and other parameters that, in the judgment of the board, may affect the creation of dioxin emissions and the emission of heavy metals. The board shall provide for minimum acceptable operating conditions as indicated by the surrogate measures.  Failure to achieve and maintain these conditions

will result in testing for dioxin and heavy metals as indicated by the surrogate measures.

B.  Scheduling of tests required by this subsection must reflect the operating conditions that originally required the testing to ensure the greatest protection of public health and the environment.  Seasonal differences in waste stream composition and atmospheric and climatic conditions must be taken into account in conducting the tests.

C.  The board shall adopt rules under this section on or before January 1, 1989.

Sec. 2.  38 MRSA §610-B is enacted to read:

§610-B.  Emission limits for municipal waste burning facilities

1.  Applicability.  A resource recovery facility with combustion units with a combined design capacity to burn 100 tons per day or more of municipal solid waste shall reduce its mercury emissions to achieve a mercury emission rate of no more than 0.028 milligrams per dry standard cubic meter corrected to 7% oxygen by volume on a dry basis, or at least 85% control efficiency.

2.  Compliance.  A person may not operate a resource recovery facility with combustion units with a combined design capacity to burn 100 tons per day or more of municipal solid waste without a license issued by the department in accordance with section 1310-N.  A resource recovery facility subject to this chapter shall file an application for a license or license amendment and a plan for achieving compliance with this chapter.

3.  Compliance deadline.  The owner or operator of a resource recovery facility with a combustor with a design capacity of less than 350 tons per day but not less than 100 tons per day, in operation as of January 1, 2003, shall submit the application and plan required by subsection 2 within 3 months after the effective date of this section and shall complete installation and begin operation of the necessary emission control equipment as expeditiously as possible, but not later than 18 months after receipt of all required state and local permits and approvals.  The owner or operator of any such combustor shall demonstrate compliance with the emission limits in subsection 1, no later than 21 months after receipt of all required state and local licenses.

Emergency clause.  In view of the emergency cited in the preamble, this Act takes effect when approved.

SUMMARY

This bill specifically requires that the presence of mercury be tested for in the emissions of resource recovery facilities burning municipal waste.  This bill also establishes limits on mercury emission rates for a resource recovery facility that has the capacity to burn 100 tons per day or more of municipal waste and requires facilities that burn more than 100 tons but less than 350 tons per day of municipal waste to be licensed.